## btap_data
| index | :no_of_threads | :dcv_type | :lights_type | :ecm_system_name | :erv_package | :ext_wall_cond | :ext_floor_cond | :ext_roof_cond | :fixed_window_cond | :building_type | :template | :epw_file | :primary_heating_fuel | :lights_scale | :daylighting_type | :boiler_eff | :furnace_eff | :shw_eff | :ground_wall_cond | :ground_floor_cond | :ground_roof_cond | :door_construction_cond | :glass_door_cond | :overhead_door_cond | :skylight_cond | :glass_door_solar_trans | :fixed_wind_solar_trans | :skylight_solar_trans | :fdwr_set | :srr_set | :rotation_degrees | :scale_x | :scale_y | :scale_z | :pv_ground_type | :pv_ground_total_area_pv_panels_m2 | :pv_ground_tilt_angle | :pv_ground_azimuth_angle | :pv_ground_module_description | :adv_dx_units | :nv_type | :nv_opening_fraction | :nv_temp_out_min | :nv_delta_temp_in_out | :chiller_type | :occupancy_loads_scale | :electrical_loads_scale | :oa_scale | :infiltration_scale | :compute_environment | :s3_bucket | :image_name | :nocache | :os_standards_branch | :btap_costing_branch | :os_version | :analysis_name | :analysis_id | :run_annual_simulation | :enable_costing | :datapoint_id | :kill_database | :scenario | bldg_conditioned_floor_area_m_sq | bldg_exterior_area_m_sq | bldg_fdwr | bldg_name | bldg_nominal_floor_to_ceiling_height | bldg_nominal_floor_to_floor_height | bldg_srr | bldg_standards_building_type | bldg_standards_number_of_above_ground_stories | bldg_standards_number_of_living_units | bldg_standards_number_of_stories | bldg_standards_template | bldg_surface_to_volume_ratio | bldg_volume_m_cu | cost_equipment_envelope_total_cost_per_m_sq | cost_equipment_heating_and_cooling_total_cost_per_m_sq | cost_equipment_lighting_total_cost_per_m_sq | cost_equipment_shw_total_cost_per_m_sq | cost_equipment_total_cost_per_m_sq | cost_equipment_ventilation_total_cost_per_m_sq | cost_rs_means_city | cost_rs_means_prov | cost_utility_ghg_electricity_kg_per_m_sq | cost_utility_ghg_natural gas_kg_per_m_sq | cost_utility_ghg_oil_kg_per_m_sq | cost_utility_ghg_total_kg_per_m_sq | cost_utility_neb_electricity_cost_per_m_sq | cost_utility_neb_natural gas_cost_per_m_sq | cost_utility_neb_oil_cost_per_m_sq | cost_utility_neb_total_cost_per_m_sq | energy_eui_additional_fuel_gj_per_m_sq | energy_eui_cooling_gj_per_m_sq | energy_eui_district_cooling_gj_per_m_sq | energy_eui_district_heating_gj_per_m_sq | energy_eui_electricity_gj_per_m_sq | energy_eui_fans_gj_per_m_sq | energy_eui_heat recovery_gj_per_m_sq | energy_eui_heating_gj_per_m_sq | energy_eui_interior equipment_gj_per_m_sq | energy_eui_interior lighting_gj_per_m_sq | energy_eui_natural_gas_gj_per_m_sq | energy_eui_pumps_gj_per_m_sq | energy_eui_total_gj_per_m_sq | energy_eui_water systems_gj_per_m_sq | energy_peak_electric_w_per_m_sq | energy_peak_natural_gas_w_per_m_sq | energy_principal_heating_source | env_fdwr | env_ground_floors_average_conductance-w_per_m_sq_k | env_ground_roofs_average_conductance-w_per_m_sq_k | env_ground_walls_average_conductance-w_per_m_sq_k | env_outdoor_doors_average_conductance-w_per_m_sq_k | env_outdoor_floors_average_conductance-w_per_m_sq_k | env_outdoor_overhead_doors_average_conductance-w_per_m_sq_k | env_outdoor_roofs_average_conductance-w_per_m_sq_k | env_outdoor_walls_average_conductance-w_per_m_sq_k | env_outdoor_windows_average_conductance-w_per_m_sq_k | env_skylights_average_conductance-w_per_m_sq_k | env_srr | location_city | location_country | location_epw_cdd | location_epw_hdd | location_latitude | location_longitude | location_necb_climate_zone | location_necb_hdd | location_state_province_region | location_weather_file | shw_additional_fuel_per_year | shw_electricity_per_day | shw_electricity_per_day_per_occupant | shw_electricity_per_year | shw_natural_gas_per_year | shw_total_nominal_occupancy | shw_water_m_cu_per_day | shw_water_m_cu_per_day_per_occupant | shw_water_m_cu_per_year | simulation_btap_data_version | simulation_date | simulation_os_standards_revision | simulation_os_standards_version | run_options | energy_eui_heat rejection_gj_per_m_sq | success | simulation_time | container_output | datapoint_output_url | :btap_batch_version | baseline_savings_energy_cost_per_m_sq | baseline_difference_cost_equipment_total_cost_per_m_sq | baseline_simple_payback_years | baseline_peak_electric_percent_better | baseline_energy_percent_better | baseline_necb_tier | baseline_ghg_percent_better
0 |  |  | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | LowriseApartment | NECB2017 | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | Electricity | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 0.01 | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 1.0 | 1.0 | 1.0 | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | local | 834599497928 | [5 empty] | elimination_example | 4e1b5641-0c04-45ea-bb1c-8b871521a333 | TRUE | TRUE | 8b7faa5c-ec0c-4467-9b1c-61314218ccdd |  | :fixed_wind_solar_trans | 1763.22 | 1532.4718 | 37.3 | LowriseApartment |  |  | 2 | LowriseApartment | 3 | 3 | 3 | NECB2017 | 0.28516 | 5374.0333 | 93.7892 | 39.8659 | 27.1852 | 33.7218 | 325.7235 | 131.1614 | MONTREAL | QUEBEC | 0.21653 | 0 | 0 | 0.21653 | 13.7909 | 0 | 0 | 13.7909 | 0 | 0.019629 | 0 | 0 | 0.55721 | 0.062238 | 0.025771 | 0.16201 | 0.059998 | 0.044084 | 0 | 0.00037999 | 0.55721 | 0.1831 | 81.9196 | 0 | Electricity | 37.3 | 0.757 | [5 empty] | 0.156 | 0.247 | 1.9 | 1.9 | 2 | Montreal-Trudeau Intl AP | CAN | 323 | 4090 | 45.471 | -73.741 | 6 | 4400 | QC | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | 0 | 0.88331 | 0.01112 | 322.85 | 0 | 79.4319 | 4.3294 | 0.054504 | 1582.38 | 0.1 | 2021-05-28 16:42:25 +0000 | 834c6c0e | 0.2.11 | :adv_dx_units: NECB_Default :analysis_id: 4e1b5641-0c04-45ea-bb1c-8b871521a333 :analysis_name: elimination_example :boiler_eff: NECB_Default :btap_batch_version: 1.0.002 :building_type: LowriseApartment :chiller_type: NECB_Default :compute_environment: local :datapoint_id: 8b7faa5c-ec0c-4467-9b1c-61314218ccdd :daylighting_type: NECB_Default :dcv_type: NECB_Default :door_construction_cond: NECB_Default :ecm_system_name: NECB_Default :electrical_loads_scale: NECB_Default :enable_costing: true :epw_file: CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw :erv_package: NECB_Default :ext_floor_cond: NECB_Default :ext_roof_cond: NECB_Default :ext_wall_cond: NECB_Default :fdwr_set: NECB_Default :fixed_wind_solar_trans: '0.01' :fixed_window_cond: NECB_Default :furnace_eff: NECB_Default :glass_door_cond: NECB_Default :glass_door_solar_trans: NECB_Default :ground_floor_cond: NECB_Default :ground_roof_cond: NECB_Default :ground_wall_cond: NECB_Default :infiltration_scale: NECB_Default :lights_scale: NECB_Default :lights_type: NECB_Default :nv_delta_temp_in_out: NECB_Default :nv_opening_fraction: NECB_Default :nv_temp_out_min: NECB_Default :nv_type: NECB_Default :oa_scale: NECB_Default :occupancy_loads_scale: NECB_Default :overhead_door_cond: NECB_Default :primary_heating_fuel: Electricity :pv_ground_azimuth_angle: NECB_Default :pv_ground_module_description: NECB_Default :pv_ground_tilt_angle: NECB_Default :pv_ground_total_area_pv_panels_m2: NECB_Default :pv_ground_type: NECB_Default :rotation_degrees: NECB_Default :run_annual_simulation: true :s3_bucket: '834599497928' :scale_x: '1.0' :scale_y: '1.0' :scale_z: '1.0' :scenario: :fixed_wind_solar_trans :shw_eff: NECB_Default :skylight_cond: NECB_Default :skylight_solar_trans: NECB_Default :srr_set: NECB_Default :template: NECB2017 | 0 | TRUE | 263.5643 |  | file:///C:\Users\plopez\test\btap_batch\examples\elimination\elimination_example\4e1b5641-0c04-45ea-bb1c-8b871521a333\output\8b7faa5c-ec0c-4467-9b1c-61314218ccdd | 1.0.002 | -0.3 | -0.3 | 1 | -3 | 2 | tier_1 | 2
1 |  |  | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | LowriseApartment | NECB2017 | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | Electricity | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 1.0 | 1.0 | 1.0 | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | local | 834599497928 | [5 empty] | elimination_example | 4e1b5641-0c04-45ea-bb1c-8b871521a333 | TRUE | TRUE | e7ba519c-f7e9-48cd-9a61-a748f103fb36 |  | :reference | 1763.22 | 1532.4718 | 37.3 | LowriseApartment |  |  | 2 | LowriseApartment | 3 | 3 | 3 | NECB2017 | 0.28516 | 5374.0333 | 93.6634 | 49.8468 | 27.1852 | 33.7218 | 343.3406 | 138.9234 | MONTREAL | QUEBEC | 0.22088 | 0 | 0 | 0.22088 | 14.068 | 0 | 0 | 14.068 | 0 | 0.071698 | 0 | 0 | 0.5684 | 0.083676 | 0.025771 | 0.099693 | 0.059998 | 0.044084 | 0 | 0.00037999 | 0.5684 | 0.1831 | 79.4956 | 0 | Electricity | 37.3 | 0.757 | [5 empty] | 0.156 | 0.247 | 1.9 | 1.9 | 2 | Montreal-Trudeau Intl AP | CAN | 323 | 4090 | 45.471 | -73.741 | 6 | 4400 | QC | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | 0 | 0.88331 | 0.01112 | 322.85 | 0 | 79.4319 | 4.3294 | 0.054504 | 1582.38 | 0.1 | 2021-05-28 16:42:36 +0000 | 834c6c0e | 0.2.11 | :adv_dx_units: NECB_Default :analysis_id: 4e1b5641-0c04-45ea-bb1c-8b871521a333 :analysis_name: elimination_example :boiler_eff: NECB_Default :btap_batch_version: 1.0.002 :building_type: LowriseApartment :chiller_type: NECB_Default :compute_environment: local :datapoint_id: e7ba519c-f7e9-48cd-9a61-a748f103fb36 :daylighting_type: NECB_Default :dcv_type: NECB_Default :door_construction_cond: NECB_Default :ecm_system_name: NECB_Default :electrical_loads_scale: NECB_Default :enable_costing: true :epw_file: CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw :erv_package: NECB_Default :ext_floor_cond: NECB_Default :ext_roof_cond: NECB_Default :ext_wall_cond: NECB_Default :fdwr_set: NECB_Default :fixed_wind_solar_trans: NECB_Default :fixed_window_cond: NECB_Default :furnace_eff: NECB_Default :glass_door_cond: NECB_Default :glass_door_solar_trans: NECB_Default :ground_floor_cond: NECB_Default :ground_roof_cond: NECB_Default :ground_wall_cond: NECB_Default :infiltration_scale: NECB_Default :lights_scale: NECB_Default :lights_type: NECB_Default :nv_delta_temp_in_out: NECB_Default :nv_opening_fraction: NECB_Default :nv_temp_out_min: NECB_Default :nv_type: NECB_Default :oa_scale: NECB_Default :occupancy_loads_scale: NECB_Default :overhead_door_cond: NECB_Default :primary_heating_fuel: Electricity :pv_ground_azimuth_angle: NECB_Default :pv_ground_module_description: NECB_Default :pv_ground_tilt_angle: NECB_Default :pv_ground_total_area_pv_panels_m2: NECB_Default :pv_ground_type: NECB_Default :rotation_degrees: NECB_Default :run_annual_simulation: true :s3_bucket: '834599497928' :scale_x: '1.0' :scale_y: '1.0' :scale_z: '1.0' :scenario: :reference :shw_eff: NECB_Default :skylight_cond: NECB_Default :skylight_solar_trans: NECB_Default :srr_set: NECB_Default :template: NECB2017 | 0 | TRUE | 284.5511 |  | file:///C:\Users\plopez\test\btap_batch\examples\elimination\elimination_example\4e1b5641-0c04-45ea-bb1c-8b871521a333\output\e7ba519c-f7e9-48cd-9a61-a748f103fb36 | 1.0.002 | 0 | 0 |  | 0 | 0 | tier_1 | 0
2 |  |  | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | LowriseApartment | NECB2017 | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | Electricity | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 1.0 | 1.0 | 1.0 | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 0.0 | local | 834599497928 | [5 empty] | elimination_example | 4e1b5641-0c04-45ea-bb1c-8b871521a333 | TRUE | TRUE | 5e8cb4b0-2588-446e-85a6-896c8684f0f6 |  | :infiltration_scale | 1763.22 | 1532.4718 | 37.3 | LowriseApartment |  |  | 2 | LowriseApartment | 3 | 3 | 3 | NECB2017 | 0.28516 | 5374.0333 | 93.6634 | 48.5129 | 27.1852 | 33.7218 | 341.5299 | 138.4466 | MONTREAL | QUEBEC | 0.21165 | 0 | 0 | 0.21165 | 13.4797 | 0 | 0 | 13.4797 | 0 | 0.076372 | 0 | 0 | 0.54464 | 0.074829 | 0.025771 | 0.080103 | 0.059998 | 0.044084 | 0 | 0.00037999 | 0.54464 | 0.1831 | 71.2417 | 0 | Electricity | 37.3 | 0.757 | [5 empty] | 0.156 | 0.247 | 1.9 | 1.9 | 2 | Montreal-Trudeau Intl AP | CAN | 323 | 4090 | 45.471 | -73.741 | 6 | 4400 | QC | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | 0 | 0.88331 | 0.01112 | 322.85 | 0 | 79.4319 | 4.3294 | 0.054504 | 1582.38 | 0.1 | 2021-05-28 16:42:39 +0000 | 834c6c0e | 0.2.11 | :adv_dx_units: NECB_Default :analysis_id: 4e1b5641-0c04-45ea-bb1c-8b871521a333 :analysis_name: elimination_example :boiler_eff: NECB_Default :btap_batch_version: 1.0.002 :building_type: LowriseApartment :chiller_type: NECB_Default :compute_environment: local :datapoint_id: 5e8cb4b0-2588-446e-85a6-896c8684f0f6 :daylighting_type: NECB_Default :dcv_type: NECB_Default :door_construction_cond: NECB_Default :ecm_system_name: NECB_Default :electrical_loads_scale: NECB_Default :enable_costing: true :epw_file: CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw :erv_package: NECB_Default :ext_floor_cond: NECB_Default :ext_roof_cond: NECB_Default :ext_wall_cond: NECB_Default :fdwr_set: NECB_Default :fixed_wind_solar_trans: NECB_Default :fixed_window_cond: NECB_Default :furnace_eff: NECB_Default :glass_door_cond: NECB_Default :glass_door_solar_trans: NECB_Default :ground_floor_cond: NECB_Default :ground_roof_cond: NECB_Default :ground_wall_cond: NECB_Default :infiltration_scale: '0.0' :lights_scale: NECB_Default :lights_type: NECB_Default :nv_delta_temp_in_out: NECB_Default :nv_opening_fraction: NECB_Default :nv_temp_out_min: NECB_Default :nv_type: NECB_Default :oa_scale: NECB_Default :occupancy_loads_scale: NECB_Default :overhead_door_cond: NECB_Default :primary_heating_fuel: Electricity :pv_ground_azimuth_angle: NECB_Default :pv_ground_module_description: NECB_Default :pv_ground_tilt_angle: NECB_Default :pv_ground_total_area_pv_panels_m2: NECB_Default :pv_ground_type: NECB_Default :rotation_degrees: NECB_Default :run_annual_simulation: true :s3_bucket: '834599497928' :scale_x: '1.0' :scale_y: '1.0' :scale_z: '1.0' :scenario: :infiltration_scale :shw_eff: NECB_Default :skylight_cond: NECB_Default :skylight_solar_trans: NECB_Default :srr_set: NECB_Default :template: NECB2017 | 0 | TRUE | 285.1072 |  | file:///C:\Users\plopez\test\btap_batch\examples\elimination\elimination_example\4e1b5641-0c04-45ea-bb1c-8b871521a333\output\5e8cb4b0-2588-446e-85a6-896c8684f0f6 | 1.0.002 | -0.6 | -0.6 | 1 | 10.4 | 4.2 | tier_1 | 4.2
3 |  |  | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | LowriseApartment | NECB2017 | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | Electricity | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 0.01 | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 1.0 | 1.0 | 1.0 | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | local | 834599497928 | [5 empty] | elimination_example | 4e1b5641-0c04-45ea-bb1c-8b871521a333 | TRUE | TRUE | d71a94a2-1354-463a-b796-a9f22c9627be |  | :ground_floor_cond | 1763.22 | 1532.4718 | 37.3 | LowriseApartment |  |  | 2 | LowriseApartment | 3 | 3 | 3 | NECB2017 | 0.28516 | 5374.0333 | 65.1327 | 49.9991 | 27.1852 | 33.7218 | 315.5212 | 139.4823 | MONTREAL | QUEBEC | 0.2228 | 0 | 0 | 0.2228 | 14.1902 | 0 | 0 | 14.1902 | 0 | 0.076661 | 0 | 0 | 0.57334 | 0.085293 | 0.025771 | 0.098054 | 0.059998 | 0.044084 | 0 | 0.00037999 | 0.57334 | 0.1831 | 80.1057 | 0 | Electricity | 37.3 | 0.01 | [5 empty] | 0.156 | 0.247 | 1.9 | 1.9 | 2 | Montreal-Trudeau Intl AP | CAN | 323 | 4090 | 45.471 | -73.741 | 6 | 4400 | QC | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | 0 | 0.88331 | 0.01112 | 322.85 | 0 | 79.4319 | 4.3294 | 0.054504 | 1582.38 | 0.1 | 2021-05-28 16:42:40 +0000 | 834c6c0e | 0.2.11 | :adv_dx_units: NECB_Default :analysis_id: 4e1b5641-0c04-45ea-bb1c-8b871521a333 :analysis_name: elimination_example :boiler_eff: NECB_Default :btap_batch_version: 1.0.002 :building_type: LowriseApartment :chiller_type: NECB_Default :compute_environment: local :datapoint_id: d71a94a2-1354-463a-b796-a9f22c9627be :daylighting_type: NECB_Default :dcv_type: NECB_Default :door_construction_cond: NECB_Default :ecm_system_name: NECB_Default :electrical_loads_scale: NECB_Default :enable_costing: true :epw_file: CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw :erv_package: NECB_Default :ext_floor_cond: NECB_Default :ext_roof_cond: NECB_Default :ext_wall_cond: NECB_Default :fdwr_set: NECB_Default :fixed_wind_solar_trans: NECB_Default :fixed_window_cond: NECB_Default :furnace_eff: NECB_Default :glass_door_cond: NECB_Default :glass_door_solar_trans: NECB_Default :ground_floor_cond: '0.01' :ground_roof_cond: NECB_Default :ground_wall_cond: NECB_Default :infiltration_scale: NECB_Default :lights_scale: NECB_Default :lights_type: NECB_Default :nv_delta_temp_in_out: NECB_Default :nv_opening_fraction: NECB_Default :nv_temp_out_min: NECB_Default :nv_type: NECB_Default :oa_scale: NECB_Default :occupancy_loads_scale: NECB_Default :overhead_door_cond: NECB_Default :primary_heating_fuel: Electricity :pv_ground_azimuth_angle: NECB_Default :pv_ground_module_description: NECB_Default :pv_ground_tilt_angle: NECB_Default :pv_ground_total_area_pv_panels_m2: NECB_Default :pv_ground_type: NECB_Default :rotation_degrees: NECB_Default :run_annual_simulation: true :s3_bucket: '834599497928' :scale_x: '1.0' :scale_y: '1.0' :scale_z: '1.0' :scenario: :ground_floor_cond :shw_eff: NECB_Default :skylight_cond: NECB_Default :skylight_solar_trans: NECB_Default :srr_set: NECB_Default :template: NECB2017 | 0 | TRUE | 286.0255 |  | file:///C:\Users\plopez\test\btap_batch\examples\elimination\elimination_example\4e1b5641-0c04-45ea-bb1c-8b871521a333\output\d71a94a2-1354-463a-b796-a9f22c9627be | 1.0.002 | 0.1 | 0.1 | 1 | -0.8 | -0.9 | non_compliant | -0.9
4 |  |  | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 0.01 | NECB_Default | NECB_Default | NECB_Default | LowriseApartment | NECB2017 | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | Electricity | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 1.0 | 1.0 | 1.0 | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | local | 834599497928 | [5 empty] | elimination_example | 4e1b5641-0c04-45ea-bb1c-8b871521a333 | TRUE | TRUE | 45773c52-302d-4c81-8a06-480de664c4b3 |  | :ext_wall_cond | 1763.22 | 1532.4718 | 37.3 | LowriseApartment |  |  | 2 | LowriseApartment | 3 | 3 | 3 | NECB2017 | 0.28516 | 5374.0333 | 74.0725 | 49.0888 | 27.1852 | 33.7218 | 322.5265 | 138.4583 | MONTREAL | QUEBEC | 0.21631 | 0 | 0 | 0.21631 | 13.7767 | 0 | 0 | 13.7767 | 0 | 0.073893 | 0 | 0 | 0.55664 | 0.078884 | 0.025771 | 0.090522 | 0.059998 | 0.044084 | 0 | 0.00037999 | 0.55664 | 0.1831 | 76.2672 | 0 | Electricity | 37.3 | 0.757 | [5 empty] | 0.156 | 0.01 | 1.9 | 1.9 | 2 | Montreal-Trudeau Intl AP | CAN | 323 | 4090 | 45.471 | -73.741 | 6 | 4400 | QC | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | 0 | 0.88331 | 0.01112 | 322.85 | 0 | 79.4319 | 4.3294 | 0.054504 | 1582.38 | 0.1 | 2021-05-28 16:42:37 +0000 | 834c6c0e | 0.2.11 | :adv_dx_units: NECB_Default :analysis_id: 4e1b5641-0c04-45ea-bb1c-8b871521a333 :analysis_name: elimination_example :boiler_eff: NECB_Default :btap_batch_version: 1.0.002 :building_type: LowriseApartment :chiller_type: NECB_Default :compute_environment: local :datapoint_id: 45773c52-302d-4c81-8a06-480de664c4b3 :daylighting_type: NECB_Default :dcv_type: NECB_Default :door_construction_cond: NECB_Default :ecm_system_name: NECB_Default :electrical_loads_scale: NECB_Default :enable_costing: true :epw_file: CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw :erv_package: NECB_Default :ext_floor_cond: NECB_Default :ext_roof_cond: NECB_Default :ext_wall_cond: '0.01' :fdwr_set: NECB_Default :fixed_wind_solar_trans: NECB_Default :fixed_window_cond: NECB_Default :furnace_eff: NECB_Default :glass_door_cond: NECB_Default :glass_door_solar_trans: NECB_Default :ground_floor_cond: NECB_Default :ground_roof_cond: NECB_Default :ground_wall_cond: NECB_Default :infiltration_scale: NECB_Default :lights_scale: NECB_Default :lights_type: NECB_Default :nv_delta_temp_in_out: NECB_Default :nv_opening_fraction: NECB_Default :nv_temp_out_min: NECB_Default :nv_type: NECB_Default :oa_scale: NECB_Default :occupancy_loads_scale: NECB_Default :overhead_door_cond: NECB_Default :primary_heating_fuel: Electricity :pv_ground_azimuth_angle: NECB_Default :pv_ground_module_description: NECB_Default :pv_ground_tilt_angle: NECB_Default :pv_ground_total_area_pv_panels_m2: NECB_Default :pv_ground_type: NECB_Default :rotation_degrees: NECB_Default :run_annual_simulation: true :s3_bucket: '834599497928' :scale_x: '1.0' :scale_y: '1.0' :scale_z: '1.0' :scenario: :ext_wall_cond :shw_eff: NECB_Default :skylight_cond: NECB_Default :skylight_solar_trans: NECB_Default :srr_set: NECB_Default :template: NECB2017 | 0 | TRUE | 287.3106 |  | file:///C:\Users\plopez\test\btap_batch\examples\elimination\elimination_example\4e1b5641-0c04-45ea-bb1c-8b871521a333\output\45773c52-302d-4c81-8a06-480de664c4b3 | 1.0.002 | -0.3 | -0.3 | 1 | 4.1 | 2.1 | tier_1 | 2.1
5 |  |  | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | LowriseApartment | NECB2017 | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | Electricity | 0.0 | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 1.0 | 1.0 | 1.0 | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | local | 834599497928 | [5 empty] | elimination_example | 4e1b5641-0c04-45ea-bb1c-8b871521a333 | TRUE | TRUE | 6acc8594-7b12-452c-9111-8dd396cd111e |  | :lights_scale | 1763.22 | 1532.4718 | 37.3 | LowriseApartment |  |  | 2 | LowriseApartment | 3 | 3 | 3 | NECB2017 | 0.28516 | 5374.0333 | 93.6634 | 50.099 | 27.1852 | 33.7218 | 341.2419 | 136.5725 | MONTREAL | QUEBEC | 0.2064 | 0 | 0 | 0.2064 | 13.1455 | 0 | 0 | 13.1455 | 0 | 0.065256 | 0 | 0 | 0.53113 | 0.085145 | 0.025771 | 0.11148 | 0.059998 |  | 0 | 0.00037999 | 0.53113 | 0.1831 | 79.0405 | 0 | Electricity | 37.3 | 0.757 | [5 empty] | 0.156 | 0.247 | 1.9 | 1.9 | 2 | Montreal-Trudeau Intl AP | CAN | 323 | 4090 | 45.471 | -73.741 | 6 | 4400 | QC | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | 0 | 0.88331 | 0.01112 | 322.85 | 0 | 79.4319 | 4.3294 | 0.054504 | 1582.38 | 0.1 | 2021-05-28 16:42:41 +0000 | 834c6c0e | 0.2.11 | :adv_dx_units: NECB_Default :analysis_id: 4e1b5641-0c04-45ea-bb1c-8b871521a333 :analysis_name: elimination_example :boiler_eff: NECB_Default :btap_batch_version: 1.0.002 :building_type: LowriseApartment :chiller_type: NECB_Default :compute_environment: local :datapoint_id: 6acc8594-7b12-452c-9111-8dd396cd111e :daylighting_type: NECB_Default :dcv_type: NECB_Default :door_construction_cond: NECB_Default :ecm_system_name: NECB_Default :electrical_loads_scale: NECB_Default :enable_costing: true :epw_file: CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw :erv_package: NECB_Default :ext_floor_cond: NECB_Default :ext_roof_cond: NECB_Default :ext_wall_cond: NECB_Default :fdwr_set: NECB_Default :fixed_wind_solar_trans: NECB_Default :fixed_window_cond: NECB_Default :furnace_eff: NECB_Default :glass_door_cond: NECB_Default :glass_door_solar_trans: NECB_Default :ground_floor_cond: NECB_Default :ground_roof_cond: NECB_Default :ground_wall_cond: NECB_Default :infiltration_scale: NECB_Default :lights_scale: '0.0' :lights_type: NECB_Default :nv_delta_temp_in_out: NECB_Default :nv_opening_fraction: NECB_Default :nv_temp_out_min: NECB_Default :nv_type: NECB_Default :oa_scale: NECB_Default :occupancy_loads_scale: NECB_Default :overhead_door_cond: NECB_Default :primary_heating_fuel: Electricity :pv_ground_azimuth_angle: NECB_Default :pv_ground_module_description: NECB_Default :pv_ground_tilt_angle: NECB_Default :pv_ground_total_area_pv_panels_m2: NECB_Default :pv_ground_type: NECB_Default :rotation_degrees: NECB_Default :run_annual_simulation: true :s3_bucket: '834599497928' :scale_x: '1.0' :scale_y: '1.0' :scale_z: '1.0' :scenario: :lights_scale :shw_eff: NECB_Default :skylight_cond: NECB_Default :skylight_solar_trans: NECB_Default :srr_set: NECB_Default :template: NECB2017 | 0 | TRUE | 288.3813 |  | file:///C:\Users\plopez\test\btap_batch\examples\elimination\elimination_example\4e1b5641-0c04-45ea-bb1c-8b871521a333\output\6acc8594-7b12-452c-9111-8dd396cd111e | 1.0.002 | -0.9 | -0.9 | 1 | 0.6 | 6.6 | tier_1 | 6.6
6 |  |  | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | LowriseApartment | NECB2017 | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | Electricity | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 0.01 | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 1.0 | 1.0 | 1.0 | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | local | 834599497928 | [5 empty] | elimination_example | 4e1b5641-0c04-45ea-bb1c-8b871521a333 | TRUE | TRUE | 401c051f-bc67-4799-89a6-da02e569e1c7 |  | :ground_wall_cond | 1763.22 | 1532.4718 | 37.3 | LowriseApartment |  |  | 2 | LowriseApartment | 3 | 3 | 3 | NECB2017 | 0.28516 | 5374.0333 | 93.6634 | 49.8468 | 27.1852 | 33.7218 | 343.3406 | 138.9234 | MONTREAL | QUEBEC | 0.22088 | 0 | 0 | 0.22088 | 14.068 | 0 | 0 | 14.068 | 0 | 0.071698 | 0 | 0 | 0.5684 | 0.083676 | 0.025771 | 0.099693 | 0.059998 | 0.044084 | 0 | 0.00037999 | 0.5684 | 0.1831 | 79.4956 | 0 | Electricity | 37.3 | 0.757 | [5 empty] | 0.156 | 0.247 | 1.9 | 1.9 | 2 | Montreal-Trudeau Intl AP | CAN | 323 | 4090 | 45.471 | -73.741 | 6 | 4400 | QC | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | 0 | 0.88331 | 0.01112 | 322.85 | 0 | 79.4319 | 4.3294 | 0.054504 | 1582.38 | 0.1 | 2021-05-28 16:42:40 +0000 | 834c6c0e | 0.2.11 | :adv_dx_units: NECB_Default :analysis_id: 4e1b5641-0c04-45ea-bb1c-8b871521a333 :analysis_name: elimination_example :boiler_eff: NECB_Default :btap_batch_version: 1.0.002 :building_type: LowriseApartment :chiller_type: NECB_Default :compute_environment: local :datapoint_id: 401c051f-bc67-4799-89a6-da02e569e1c7 :daylighting_type: NECB_Default :dcv_type: NECB_Default :door_construction_cond: NECB_Default :ecm_system_name: NECB_Default :electrical_loads_scale: NECB_Default :enable_costing: true :epw_file: CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw :erv_package: NECB_Default :ext_floor_cond: NECB_Default :ext_roof_cond: NECB_Default :ext_wall_cond: NECB_Default :fdwr_set: NECB_Default :fixed_wind_solar_trans: NECB_Default :fixed_window_cond: NECB_Default :furnace_eff: NECB_Default :glass_door_cond: NECB_Default :glass_door_solar_trans: NECB_Default :ground_floor_cond: NECB_Default :ground_roof_cond: NECB_Default :ground_wall_cond: '0.01' :infiltration_scale: NECB_Default :lights_scale: NECB_Default :lights_type: NECB_Default :nv_delta_temp_in_out: NECB_Default :nv_opening_fraction: NECB_Default :nv_temp_out_min: NECB_Default :nv_type: NECB_Default :oa_scale: NECB_Default :occupancy_loads_scale: NECB_Default :overhead_door_cond: NECB_Default :primary_heating_fuel: Electricity :pv_ground_azimuth_angle: NECB_Default :pv_ground_module_description: NECB_Default :pv_ground_tilt_angle: NECB_Default :pv_ground_total_area_pv_panels_m2: NECB_Default :pv_ground_type: NECB_Default :rotation_degrees: NECB_Default :run_annual_simulation: true :s3_bucket: '834599497928' :scale_x: '1.0' :scale_y: '1.0' :scale_z: '1.0' :scenario: :ground_wall_cond :shw_eff: NECB_Default :skylight_cond: NECB_Default :skylight_solar_trans: NECB_Default :srr_set: NECB_Default :template: NECB2017 | 0 | TRUE | 288.6986 |  | file:///C:\Users\plopez\test\btap_batch\examples\elimination\elimination_example\4e1b5641-0c04-45ea-bb1c-8b871521a333\output\401c051f-bc67-4799-89a6-da02e569e1c7 | 1.0.002 | 0 | 0 |  | 0 | 0 | tier_1 | 0
7 |  |  | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | LowriseApartment | NECB2017 | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | Electricity | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 1.0 | 1.0 | 1.0 | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 0.0 | NECB_Default | NECB_Default | local | 834599497928 | [5 empty] | elimination_example | 4e1b5641-0c04-45ea-bb1c-8b871521a333 | TRUE | TRUE | 55796282-199c-4d91-bf19-31168281cde2 |  | :electrical_loads_scale | 1763.22 | 1532.4718 | 37.3 | LowriseApartment |  |  | 2 | LowriseApartment | 3 | 3 | 3 | NECB2017 | 0.28516 | 5374.0333 | 93.6634 | 50.7415 | 27.1852 | 33.7218 | 343.643 | 138.3312 | MONTREAL | QUEBEC | 0.20025 | 0 | 0 | 0.20025 | 12.7537 | 0 | 0 | 12.7537 | 0 | 0.061371 | 0 | 0 | 0.5153 | 0.086319 | 0.025771 | 0.11427 | 0 | 0.044084 | 0 | 0.00037999 | 0.5153 | 0.1831 | 79.2114 | 0 | Electricity | 37.3 | 0.757 | [5 empty] | 0.156 | 0.247 | 1.9 | 1.9 | 2 | Montreal-Trudeau Intl AP | CAN | 323 | 4090 | 45.471 | -73.741 | 6 | 4400 | QC | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | 0 | 0.88331 | 0.01112 | 322.85 | 0 | 79.4319 | 4.3294 | 0.054504 | 1582.38 | 0.1 | 2021-05-28 16:42:47 +0000 | 834c6c0e | 0.2.11 | :adv_dx_units: NECB_Default :analysis_id: 4e1b5641-0c04-45ea-bb1c-8b871521a333 :analysis_name: elimination_example :boiler_eff: NECB_Default :btap_batch_version: 1.0.002 :building_type: LowriseApartment :chiller_type: NECB_Default :compute_environment: local :datapoint_id: 55796282-199c-4d91-bf19-31168281cde2 :daylighting_type: NECB_Default :dcv_type: NECB_Default :door_construction_cond: NECB_Default :ecm_system_name: NECB_Default :electrical_loads_scale: '0.0' :enable_costing: true :epw_file: CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw :erv_package: NECB_Default :ext_floor_cond: NECB_Default :ext_roof_cond: NECB_Default :ext_wall_cond: NECB_Default :fdwr_set: NECB_Default :fixed_wind_solar_trans: NECB_Default :fixed_window_cond: NECB_Default :furnace_eff: NECB_Default :glass_door_cond: NECB_Default :glass_door_solar_trans: NECB_Default :ground_floor_cond: NECB_Default :ground_roof_cond: NECB_Default :ground_wall_cond: NECB_Default :infiltration_scale: NECB_Default :lights_scale: NECB_Default :lights_type: NECB_Default :nv_delta_temp_in_out: NECB_Default :nv_opening_fraction: NECB_Default :nv_temp_out_min: NECB_Default :nv_type: NECB_Default :oa_scale: NECB_Default :occupancy_loads_scale: NECB_Default :overhead_door_cond: NECB_Default :primary_heating_fuel: Electricity :pv_ground_azimuth_angle: NECB_Default :pv_ground_module_description: NECB_Default :pv_ground_tilt_angle: NECB_Default :pv_ground_total_area_pv_panels_m2: NECB_Default :pv_ground_type: NECB_Default :rotation_degrees: NECB_Default :run_annual_simulation: true :s3_bucket: '834599497928' :scale_x: '1.0' :scale_y: '1.0' :scale_z: '1.0' :scenario: :electrical_loads_scale :shw_eff: NECB_Default :skylight_cond: NECB_Default :skylight_solar_trans: NECB_Default :srr_set: NECB_Default :template: NECB2017 | 0 | TRUE | 291.4263 |  | file:///C:\Users\plopez\test\btap_batch\examples\elimination\elimination_example\4e1b5641-0c04-45ea-bb1c-8b871521a333\output\55796282-199c-4d91-bf19-31168281cde2 | 1.0.002 | -1.3 | -1.3 | 1 | 0.4 | 9.3 | tier_1 | 9.3
8 |  |  | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 0.01 | NECB_Default | LowriseApartment | NECB2017 | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | Electricity | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 1.0 | 1.0 | 1.0 | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | local | 834599497928 | [5 empty] | elimination_example | 4e1b5641-0c04-45ea-bb1c-8b871521a333 | TRUE | TRUE | cfaa353f-0c66-44f3-bea8-3f70575a6ff3 |  | :ext_roof_cond | 1763.22 | 1532.4718 | 37.3 | LowriseApartment |  |  | 2 | LowriseApartment | 3 | 3 | 3 | NECB2017 | 0.28516 | 5374.0333 | 56.7959 | 49.03 | 27.1852 | 33.7218 | 304.9867 | 138.2539 | MONTREAL | QUEBEC | 0.21509 | 0 | 0 | 0.21509 | 13.6991 | 0 | 0 | 13.6991 | 0 | 0.071568 | 0 | 0 | 0.55349 | 0.078311 | 0.025771 | 0.090278 | 0.059998 | 0.044084 | 0 | 0.00037999 | 0.55349 | 0.1831 | 77.0126 | 0 | Electricity | 37.3 | 0.757 | [5 empty] | 0.01 | 0.247 | 1.9 | 1.9 | 2 | Montreal-Trudeau Intl AP | CAN | 323 | 4090 | 45.471 | -73.741 | 6 | 4400 | QC | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | 0 | 0.88331 | 0.01112 | 322.85 | 0 | 79.4319 | 4.3294 | 0.054504 | 1582.38 | 0.1 | 2021-05-28 16:42:46 +0000 | 834c6c0e | 0.2.11 | :adv_dx_units: NECB_Default :analysis_id: 4e1b5641-0c04-45ea-bb1c-8b871521a333 :analysis_name: elimination_example :boiler_eff: NECB_Default :btap_batch_version: 1.0.002 :building_type: LowriseApartment :chiller_type: NECB_Default :compute_environment: local :datapoint_id: cfaa353f-0c66-44f3-bea8-3f70575a6ff3 :daylighting_type: NECB_Default :dcv_type: NECB_Default :door_construction_cond: NECB_Default :ecm_system_name: NECB_Default :electrical_loads_scale: NECB_Default :enable_costing: true :epw_file: CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw :erv_package: NECB_Default :ext_floor_cond: NECB_Default :ext_roof_cond: '0.01' :ext_wall_cond: NECB_Default :fdwr_set: NECB_Default :fixed_wind_solar_trans: NECB_Default :fixed_window_cond: NECB_Default :furnace_eff: NECB_Default :glass_door_cond: NECB_Default :glass_door_solar_trans: NECB_Default :ground_floor_cond: NECB_Default :ground_roof_cond: NECB_Default :ground_wall_cond: NECB_Default :infiltration_scale: NECB_Default :lights_scale: NECB_Default :lights_type: NECB_Default :nv_delta_temp_in_out: NECB_Default :nv_opening_fraction: NECB_Default :nv_temp_out_min: NECB_Default :nv_type: NECB_Default :oa_scale: NECB_Default :occupancy_loads_scale: NECB_Default :overhead_door_cond: NECB_Default :primary_heating_fuel: Electricity :pv_ground_azimuth_angle: NECB_Default :pv_ground_module_description: NECB_Default :pv_ground_tilt_angle: NECB_Default :pv_ground_total_area_pv_panels_m2: NECB_Default :pv_ground_type: NECB_Default :rotation_degrees: NECB_Default :run_annual_simulation: true :s3_bucket: '834599497928' :scale_x: '1.0' :scale_y: '1.0' :scale_z: '1.0' :scenario: :ext_roof_cond :shw_eff: NECB_Default :skylight_cond: NECB_Default :skylight_solar_trans: NECB_Default :srr_set: NECB_Default :template: NECB2017 | 0 | TRUE | 293.6044 |  | file:///C:\Users\plopez\test\btap_batch\examples\elimination\elimination_example\4e1b5641-0c04-45ea-bb1c-8b871521a333\output\cfaa353f-0c66-44f3-bea8-3f70575a6ff3 | 1.0.002 | -0.4 | -0.4 | 1 | 3.1 | 2.6 | tier_1 | 2.6
9 |  |  | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 0.01 | LowriseApartment | NECB2017 | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | Electricity | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 1.0 | 1.0 | 1.0 | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | local | 834599497928 | [5 empty] | elimination_example | 4e1b5641-0c04-45ea-bb1c-8b871521a333 | TRUE | TRUE | 7921a8c5-bf10-42dd-8db0-463e98525f49 |  | :fixed_window_cond | 1763.22 | 1532.4718 | 37.3 | LowriseApartment |  |  | 2 | LowriseApartment | 3 | 3 | 3 | NECB2017 | 0.28516 | 5374.0333 | 86.7177 | 45.4689 | 27.1852 | 33.7218 | 330.6532 | 137.5596 | MONTREAL | QUEBEC | 0.21103 | 0 | 0 | 0.21103 | 13.4401 | 0 | 0 | 13.4401 | 0 | 0.09646 | 0 | 0 | 0.54303 | 0.069163 | 0.025771 | 0.064076 | 0.059998 | 0.044084 | 0 | 0.00037999 | 0.54303 | 0.1831 | 53.9721 | 0 | Electricity | 37.3 | 0.757 | [5 empty] | 0.156 | 0.247 | 0.01 | 1.9 | 2 | Montreal-Trudeau Intl AP | CAN | 323 | 4090 | 45.471 | -73.741 | 6 | 4400 | QC | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | 0 | 0.88331 | 0.01112 | 322.85 | 0 | 79.4319 | 4.3294 | 0.054504 | 1582.38 | 0.1 | 2021-05-28 16:42:46 +0000 | 834c6c0e | 0.2.11 | :adv_dx_units: NECB_Default :analysis_id: 4e1b5641-0c04-45ea-bb1c-8b871521a333 :analysis_name: elimination_example :boiler_eff: NECB_Default :btap_batch_version: 1.0.002 :building_type: LowriseApartment :chiller_type: NECB_Default :compute_environment: local :datapoint_id: 7921a8c5-bf10-42dd-8db0-463e98525f49 :daylighting_type: NECB_Default :dcv_type: NECB_Default :door_construction_cond: NECB_Default :ecm_system_name: NECB_Default :electrical_loads_scale: NECB_Default :enable_costing: true :epw_file: CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw :erv_package: NECB_Default :ext_floor_cond: NECB_Default :ext_roof_cond: NECB_Default :ext_wall_cond: NECB_Default :fdwr_set: NECB_Default :fixed_wind_solar_trans: NECB_Default :fixed_window_cond: '0.01' :furnace_eff: NECB_Default :glass_door_cond: NECB_Default :glass_door_solar_trans: NECB_Default :ground_floor_cond: NECB_Default :ground_roof_cond: NECB_Default :ground_wall_cond: NECB_Default :infiltration_scale: NECB_Default :lights_scale: NECB_Default :lights_type: NECB_Default :nv_delta_temp_in_out: NECB_Default :nv_opening_fraction: NECB_Default :nv_temp_out_min: NECB_Default :nv_type: NECB_Default :oa_scale: NECB_Default :occupancy_loads_scale: NECB_Default :overhead_door_cond: NECB_Default :primary_heating_fuel: Electricity :pv_ground_azimuth_angle: NECB_Default :pv_ground_module_description: NECB_Default :pv_ground_tilt_angle: NECB_Default :pv_ground_total_area_pv_panels_m2: NECB_Default :pv_ground_type: NECB_Default :rotation_degrees: NECB_Default :run_annual_simulation: true :s3_bucket: '834599497928' :scale_x: '1.0' :scale_y: '1.0' :scale_z: '1.0' :scenario: :fixed_window_cond :shw_eff: NECB_Default :skylight_cond: NECB_Default :skylight_solar_trans: NECB_Default :srr_set: NECB_Default :template: NECB2017 | 0 | TRUE | 294.6874 |  | file:///C:\Users\plopez\test\btap_batch\examples\elimination\elimination_example\4e1b5641-0c04-45ea-bb1c-8b871521a333\output\7921a8c5-bf10-42dd-8db0-463e98525f49 | 1.0.002 | -0.6 | -0.6 | 1 | 32.1 | 4.5 | tier_1 | 4.5
10 |  |  | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | LowriseApartment | NECB2017 | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | Electricity | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 1.0 | 1.0 | 1.0 | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 0.0 | NECB_Default | local | 834599497928 | [5 empty] | elimination_example | 4e1b5641-0c04-45ea-bb1c-8b871521a333 | TRUE | TRUE | 903c3d0b-7aea-41f0-8ae9-575a7d832f47 |  | :oa_scale | 1763.22 | 1532.4718 | 37.3 | LowriseApartment |  |  | 2 | LowriseApartment | 3 | 3 | 3 | NECB2017 | 0.28516 | 5374.0333 | 93.6634 | 49.182 | 27.1852 | 33.7218 | 419.4912 | 215.7387 | MONTREAL | QUEBEC | 0.22505 | 0 | 0 | 0.22505 | 14.3336 | 0 | 0 | 14.3336 | 0 | 0.073167 | 0 | 0 | 0.57913 | 0.13934 | 0.016532 | 0.062533 | 0.059998 | 0.044084 | 0 | 0.00037999 | 0.57913 | 0.1831 | 76.4454 | 0 | Electricity | 37.3 | 0.757 | [5 empty] | 0.156 | 0.247 | 1.9 | 1.9 | 2 | Montreal-Trudeau Intl AP | CAN | 323 | 4090 | 45.471 | -73.741 | 6 | 4400 | QC | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | 0 | 0.88331 | 0.01112 | 322.85 | 0 | 79.4319 | 4.3294 | 0.054504 | 1582.38 | 0.1 | 2021-05-28 16:42:56 +0000 | 834c6c0e | 0.2.11 | :adv_dx_units: NECB_Default :analysis_id: 4e1b5641-0c04-45ea-bb1c-8b871521a333 :analysis_name: elimination_example :boiler_eff: NECB_Default :btap_batch_version: 1.0.002 :building_type: LowriseApartment :chiller_type: NECB_Default :compute_environment: local :datapoint_id: 903c3d0b-7aea-41f0-8ae9-575a7d832f47 :daylighting_type: NECB_Default :dcv_type: NECB_Default :door_construction_cond: NECB_Default :ecm_system_name: NECB_Default :electrical_loads_scale: NECB_Default :enable_costing: true :epw_file: CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw :erv_package: NECB_Default :ext_floor_cond: NECB_Default :ext_roof_cond: NECB_Default :ext_wall_cond: NECB_Default :fdwr_set: NECB_Default :fixed_wind_solar_trans: NECB_Default :fixed_window_cond: NECB_Default :furnace_eff: NECB_Default :glass_door_cond: NECB_Default :glass_door_solar_trans: NECB_Default :ground_floor_cond: NECB_Default :ground_roof_cond: NECB_Default :ground_wall_cond: NECB_Default :infiltration_scale: NECB_Default :lights_scale: NECB_Default :lights_type: NECB_Default :nv_delta_temp_in_out: NECB_Default :nv_opening_fraction: NECB_Default :nv_temp_out_min: NECB_Default :nv_type: NECB_Default :oa_scale: '0.0' :occupancy_loads_scale: NECB_Default :overhead_door_cond: NECB_Default :primary_heating_fuel: Electricity :pv_ground_azimuth_angle: NECB_Default :pv_ground_module_description: NECB_Default :pv_ground_tilt_angle: NECB_Default :pv_ground_total_area_pv_panels_m2: NECB_Default :pv_ground_type: NECB_Default :rotation_degrees: NECB_Default :run_annual_simulation: true :s3_bucket: '834599497928' :scale_x: '1.0' :scale_y: '1.0' :scale_z: '1.0' :scenario: :oa_scale :shw_eff: NECB_Default :skylight_cond: NECB_Default :skylight_solar_trans: NECB_Default :srr_set: NECB_Default :template: NECB2017 | 0 | TRUE | 300.1688 |  | file:///C:\Users\plopez\test\btap_batch\examples\elimination\elimination_example\4e1b5641-0c04-45ea-bb1c-8b871521a333\output\903c3d0b-7aea-41f0-8ae9-575a7d832f47 | 1.0.002 | 0.3 | 0.3 | 1 | 3.8 | -1.9 | non_compliant | -1.9
11 |  |  | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | LowriseApartment | NECB2017 | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | Electricity | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 1.0 | 1.0 | 1.0 | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | NECB_Default | 0.0 | NECB_Default | NECB_Default | NECB_Default | local | 834599497928 | [5 empty] | elimination_example | 4e1b5641-0c04-45ea-bb1c-8b871521a333 | TRUE | TRUE | 771738b0-f8e6-475c-bacc-56230f6e6f72 |  | :occupancy_loads_scale | 1763.22 | 1532.4718 | 37.3 | LowriseApartment |  |  | 2 | LowriseApartment | 3 | 3 | 3 | NECB2017 | 0.28516 | 5374.0333 | 93.6634 | 49.8258 | 27.1852 | 33.7218 | 335.4049 | 131.0087 | MONTREAL | QUEBEC | 0.18141 | 0 | 0 | 0.18141 | 11.5541 | 0 | 0 | 11.5541 | 0 | 0.069101 | 0 | 0 | 0.46683 | 0.064564 | 0 | 0.045593 | 0.059998 | 0.044084 | 0 | 0.00037999 | 0.46683 | 0.18311 | 60.8408 | 0 | Electricity | 37.3 | 0.757 | [5 empty] | 0.156 | 0.247 | 1.9 | 1.9 | 2 | Montreal-Trudeau Intl AP | CAN | 323 | 4090 | 45.471 | -73.741 | 6 | 4400 | QC | CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw | 0 | 0.88337 | inf | 322.87 | 0 | 0 | 4.3294 | inf | 1582.38 | 0.1 | 2021-05-28 16:43:29 +0000 | 834c6c0e | 0.2.11 | :adv_dx_units: NECB_Default :analysis_id: 4e1b5641-0c04-45ea-bb1c-8b871521a333 :analysis_name: elimination_example :boiler_eff: NECB_Default :btap_batch_version: 1.0.002 :building_type: LowriseApartment :chiller_type: NECB_Default :compute_environment: local :datapoint_id: 771738b0-f8e6-475c-bacc-56230f6e6f72 :daylighting_type: NECB_Default :dcv_type: NECB_Default :door_construction_cond: NECB_Default :ecm_system_name: NECB_Default :electrical_loads_scale: NECB_Default :enable_costing: true :epw_file: CAN_QC_Montreal-Trudeau.Intl.AP.716270_CWEC2016.epw :erv_package: NECB_Default :ext_floor_cond: NECB_Default :ext_roof_cond: NECB_Default :ext_wall_cond: NECB_Default :fdwr_set: NECB_Default :fixed_wind_solar_trans: NECB_Default :fixed_window_cond: NECB_Default :furnace_eff: NECB_Default :glass_door_cond: NECB_Default :glass_door_solar_trans: NECB_Default :ground_floor_cond: NECB_Default :ground_roof_cond: NECB_Default :ground_wall_cond: NECB_Default :infiltration_scale: NECB_Default :lights_scale: NECB_Default :lights_type: NECB_Default :nv_delta_temp_in_out: NECB_Default :nv_opening_fraction: NECB_Default :nv_temp_out_min: NECB_Default :nv_type: NECB_Default :oa_scale: NECB_Default :occupancy_loads_scale: '0.0' :overhead_door_cond: NECB_Default :primary_heating_fuel: Electricity :pv_ground_azimuth_angle: NECB_Default :pv_ground_module_description: NECB_Default :pv_ground_tilt_angle: NECB_Default :pv_ground_total_area_pv_panels_m2: NECB_Default :pv_ground_type: NECB_Default :rotation_degrees: NECB_Default :run_annual_simulation: true :s3_bucket: '834599497928' :scale_x: '1.0' :scale_y: '1.0' :scale_z: '1.0' :scenario: :occupancy_loads_scale :shw_eff: NECB_Default :skylight_cond: NECB_Default :skylight_solar_trans: NECB_Default :srr_set: NECB_Default :template: NECB2017 | 0 | TRUE | 330.9364 |  | file:///C:\Users\plopez\test\btap_batch\examples\elimination\elimination_example\4e1b5641-0c04-45ea-bb1c-8b871521a333\output\771738b0-f8e6-475c-bacc-56230f6e6f72 | 1.0.002 | -2.5 | -2.5 | 1 | 23.5 | 17.9 | tier_1 | 17.9